## instructions
Step | NAME | DESCRIPTION
1 | COPY | make a copy of this and put it in the "weekly_report_input_folder" that corresponds to the correct year and week.
2 | RENAME | Replace the # with the appropriate year, week and plate numbers in the name. Example year 24, week 28 plate 2: SS_y24_w28_p2_rna_extract_and_pcr_notebook
3 | PASTE | paste your platemap into the appropriate location in the rna and/or pcr sheet
4 | COMPLETE | Fill out all highlighted sections and rename this copied file with the "plate # or p#" in the title. This will be the platemap input in the pipeline
| * | Don't change the names of the sheets

## rna_extraction
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | CSU-23285 | CSU-23293 | CSU-23301 | CSU-23309 | CSU-23317 | CSU-23325 | CSU-23333 | CSU-23341 | CSU-23349 | CSU-23357 | CSU-23365 | wnv_std_1e6 | added in pcr*
B | CSU-23286 | CSU-23294 | CSU-23302 | CSU-23310 | CSU-23318 | CSU-23326 | CSU-23334 | CSU-23342 | CSU-23350 | CSU-23358 | CSU-23366 | wnv_std_1e4
C | CSU-23287 | CSU-23295 | CSU-23303 | CSU-23311 | CSU-23319 | CSU-23327 | CSU-23335 | CSU-23343 | CSU-23351 | CSU-23359 | CSU-23367 | wnv_std_1e2
D | CSU-23288 | CSU-23296 | CSU-23304 | CSU-23312 | CSU-23320 | CSU-23328 | CSU-23336 | CSU-23344 | CSU-23352 | CSU-23360 | CSU-23368 | slev_std_1e6
E | CSU-23289 | CSU-23297 | CSU-23305 | CSU-23313 | CSU-23321 | CSU-23329 | CSU-23337 | CSU-23345 | CSU-23353 | CSU-23361 | CSU-23369 | slev_std_1e4
F | CSU-23290 | CSU-23298 | CSU-23306 | CSU-23314 | CSU-23322 | CSU-23330 | CSU-23338 | CSU-23346 | CSU-23354 | CSU-23362 | CSU-23370 | slev_std_1e2
G | CSU-23291 | CSU-23299 | CSU-23307 | CSU-23315 | CSU-23323 | CSU-23331 | CSU-23339 | CSU-23347 | CSU-23355 | CSU-23363 | CSU-23371 | neg pcr ctrl
H | CSU-23292 | CSU-23300 | CSU-23308 | CSU-23316 | CSU-23324 | CSU-23332 | CSU-23340 | CSU-23348 | CSU-23356 | CSU-23364 | pos extract ctl | neg extract ctl
[5 empty] | full protocol here -----------------------> |  | SS - RNA extraction
YOUR NAME |  | Kara |  |  | PROTOCOL CHECKLIST
[5 empty] | take samples out of freezer to thaw |  |  |  | TRUE
SUPPLIES |  |  |  |  | ethanol added to SPR (check mark on bottle) |  |  |  | TRUE
Machine/Reagent | Group | Lot/ID |  |  | ethanol added to VHB (check mark on bottle) |  |  |  | TRUE
[5 empty] | positve and negative extraction controls added |  |  |  | TRUE
Kingfisher | FoCo | NA |  |  | pipettes changed between samples |  |  |  | TRUE
TNA Lysis Buffer | FoCo |  |  |  | beads at room temp |  |  |  | TRUE
Isopropanol | FoCo |  |  |  | beads vortexed |  |  |  | TRUE
Proteanase K | FoCo |  |  |  | beads and proteanase K thoroughly mixed prior to dispensing |  |  |  | TRUE
linear acrylamide | FoCo |  |  |  | maintenance plate run done prior to sample run |  |  |  | TRUE
magbind beads | FoCo |  |  |  | A1 of sample plate oriented to A1 in machine |  |  |  | TRUE
SPR | FoCo |  |  |  | Return tip plate to top of robot |  |  |  | FALSE
VHB | FoCo |  |  |  | VHB, SPR and SAMPLE Plates liquid in sink plates in gargabe |  |  |  | FALSE
dfh20 | FoCo |  |  |  | Elution plate sealed with microseal B and in freezer/fridge or immediately processed |  |  |  | FALSE
RXN INPUT |  |  |  |  | RUN NOTES
N samples | 89 | (non blank values in platemap, excluding standards and neg pcr ctrl)
Overage | 1.2 | % over recommended to ensure enough volume for pipetting
RXN CALCULATOR
Sample MM1 | 1X | Total Reaction | Added?
TNA lysis buffer | 60 | 6408 | TRUE
linear acrylamide | 1 | 106.8 | TRUE
isopropanol | 70 | 7476 | TRUE
total | 131 | 13990.8
Mini MM tube # and V | 8 | 1748.85
Sample MM2 | 1X | Total Reaction
MagBind beads | 5 | 534 | TRUE
proteinase K | 5 | 534 | TRUE
total | 10 | 1068 | TRUE
Mini MM tube # and V | 8 | 133.5
use the space above to write any anomalies with the run as a whole or notes about particular samples.
Other Plates | 1x | Total (SPR doubled)
SPRx2 | 200 | 42720 | TRUE
VHB | 200 | 21360 | TRUE
h20 Elution | 50 | 5340 | TRUE

## pcr
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | CSU-23285 | CSU-23293 | CSU-23301 | CSU-23309 | CSU-23317 | CSU-23325 | CSU-23333 | CSU-23341 | CSU-23349 | CSU-23357 | CSU-23365 | wnv_std_1e6
B | CSU-23286 | CSU-23294 | CSU-23302 | CSU-23310 | CSU-23318 | CSU-23326 | CSU-23334 | CSU-23342 | CSU-23350 | CSU-23358 | CSU-23366 | wnv_std_1e4
C | CSU-23287 | CSU-23295 | CSU-23303 | CSU-23311 | CSU-23319 | CSU-23327 | CSU-23335 | CSU-23343 | CSU-23351 | CSU-23359 | CSU-23367 | wnv_std_1e2
D | CSU-23288 | CSU-23296 | CSU-23304 | CSU-23312 | CSU-23320 | CSU-23328 | CSU-23336 | CSU-23344 | CSU-23352 | CSU-23360 | CSU-23368 | slev_std_1e6
E | CSU-23289 | CSU-23297 | CSU-23305 | CSU-23313 | CSU-23321 | CSU-23329 | CSU-23337 | CSU-23345 | CSU-23353 | CSU-23361 | CSU-23369 | slev_std_1e4
F | CSU-23290 | CSU-23298 | CSU-23306 | CSU-23314 | CSU-23322 | CSU-23330 | CSU-23338 | CSU-23346 | CSU-23354 | CSU-23362 | CSU-23370 | slev_std_1e2
G | CSU-23291 | CSU-23299 | CSU-23307 | CSU-23315 | CSU-23323 | CSU-23331 | CSU-23339 | CSU-23347 | CSU-23355 | CSU-23363 | CSU-23371 | neg pcr ctrl
H | CSU-23292 | CSU-23300 | CSU-23308 | CSU-23316 | CSU-23324 | CSU-23332 | CSU-23340 | CSU-23348 | CSU-23356 | CSU-23364 | pos extract ctl | neg extract ctl
YOUR NAME |  | Kara
|  |  |  | full protocol here -----------------------> |  | SS - Multiplex qRT-PCR
SUPPLIES |  |  |  | PROTOCOL CHECKLIST
Machine/Reagent | Group | Lot/ID |  | changed pipettes between samples |  |  |  | TRUE
Quantstudio | FoCo | NA |  | neg pcr control added |  |  |  | TRUE
Mastermix | FoCo |  |  | standards added |  |  |  | TRUE
primer probe | FoCo | NA |  | Reagents put back in -4 C |  |  |  | TRUE
RT enzyme | FoCo |  |  | baseline threshold changed to 34000 and hit Analyze |  |  |  | FALSE
standards | FoCo | NA |  | Export .xls file with named "SS-y##-w#-p#-pcr" |  |  |  | FALSE
RXN INPUT |  |  |  | RUN NOTES
N samples | 96 | non blank values in platemap
Overage | 1.2 | % over recommended to ensure enough volume for pipetting
RXN CALCULATOR
MM1 Reagent | 1X | Total Reaction
Mastermix | 10 | 1152
Primer probe | 4 | 460.8
RT | 1 | 115.2
total | 15 | 1728
Mini MM tube # and V | 8 | 216
use the space above to write any anomalies with the run as a whole or notes about particular samples.