## instructions
Step | NAME | DESCRIPTION
1 | COPY | make a copy of this and put it in the "weekly_report_input_folder" that corresponds to the correct year and week.
2 | RENAME | Replace the # with the appropriate year, week and plate numbers in the name. Example year 2024, week 28 plate 2: SS_y2024_w28_p2_rna_extract_and_pcr_notebook
3 | PASTE | paste your platemap into the appropriate location in the rna and/or pcr sheet
4 | COMPLETE | Fill out all highlighted sections and rename this copied file with the "plate # or p#" in the title. This will be the platemap input in the pipeline
| * | Don't change the names of the sheets

## rna_extraction
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | CSU-24659 | CSU-24667 | CSU-24675 | CSU-24683 | CSU-24691 | CSU-24699 | CSU-24707 | CSU-24715 | CSU-24723 | CSU-24731 | CSU-24739 | wnv_std_1e6 | added in pcr*
B | CSU-24660 | CSU-24668 | CSU-24676 | CSU-24684 | CSU-24692 | CSU-24700 | CSU-24708 | CSU-24716 | CSU-24724 | CSU-24732 | CSU-24740 | wnv_std_1e4
C | CSU-24661 | CSU-24669 | CSU-24677 | CSU-24685 | CSU-24693 | CSU-24701 | CSU-24709 | CSU-24717 | CSU-24725 | CSU-24733 | CSU-24741 | wnv_std_1e2
D | CSU-24662 | CSU-24670 | CSU-24678 | CSU-24686 | CSU-24694 | CSU-24702 | CSU-24710 | CSU-24718 | CSU-24726 | CSU-24734 | CSU-24742 | slev_std_1e6
E | CSU-24663 | CSU-24671 | CSU-24679 | CSU-24687 | CSU-24695 | CSU-24703 | CSU-24711 | CSU-24719 | CSU-24727 | CSU-24735 | CSU-24743 | slev_std_1e4
F | CSU-24664 | CSU-24672 | CSU-24680 | CSU-24688 | CSU-24696 | CSU-24704 | CSU-24712 | CSU-24720 | CSU-24728 | CSU-24736 | CSU-24744 | slev_std_1e2
G | CSU-24665 | CSU-24673 | CSU-24681 | CSU-24689 | CSU-24697 | CSU-24705 | CSU-24713 | CSU-24721 | CSU-24729 | CSU-24737 | CSU-24745 | neg pcr ctrl
H | CSU-24666 | CSU-24674 | CSU-24682 | CSU-24690 | CSU-24698 | CSU-24706 | CSU-24714 | CSU-24722 | CSU-24730 | CSU-24738 | neg extract ctl | pos extract ctl
[5 empty] | full protocol here -----------------------> |  | SS - RNA extraction
YOUR NAME |  | Kara |  |  | PROTOCOL CHECKLIST
[5 empty] | take samples out of freezer to thaw |  |  |  | TRUE
SUPPLIES |  |  |  |  | ethanol added to SPR (check mark on bottle) |  |  |  | TRUE
Machine/Reagent | Group | Lot/ID |  |  | ethanol added to VHB (check mark on bottle) |  |  |  | TRUE
[5 empty] | positve and negative extraction controls added |  |  |  | TRUE
Kingfisher | FoCo | NA |  |  | pipettes changed between samples |  |  |  | TRUE
TNA Lysis Buffer | FoCo |  |  |  | beads at room temp |  |  |  | TRUE
Isopropanol | FoCo |  |  |  | beads vortexed |  |  |  | TRUE
Proteanase K | FoCo |  |  |  | beads and proteanase K thoroughly mixed prior to dispensing |  |  |  | TRUE
linear acrylamide | FoCo |  |  |  | maintenance plate run done prior to sample run |  |  |  | TRUE
magbind beads | FoCo |  |  |  | A1 of sample plate oriented to A1 in machine |  |  |  | TRUE
SPR | FoCo |  |  |  | Return tip plate to top of robot |  |  |  | TRUE
VHB | FoCo |  |  |  | VHB, SPR and SAMPLE Plates liquid in sink plates in gargabe |  |  |  | TRUE
dfh20 | FoCo |  |  |  | Elution plate sealed with microseal B and in freezer/fridge or immediately processed |  |  |  | TRUE
RXN INPUT |  |  |  |  | RUN NOTES
N samples | 89 | (non blank values in platemap, excluding standards and neg pcr ctrl)
Overage | 1.2 | % over recommended to ensure enough volume for pipetting
RXN CALCULATOR
Sample MM1 | 1X | Total Reaction | Added?
TNA lysis buffer | 60 | 6408 | TRUE
linear acrylamide | 1 | 106.8 | TRUE
isopropanol | 70 | 7476 | TRUE
total | 131 | 13990.8
Mini MM tube # and V | 8 | 1748.85
Sample MM2 | 1X | Total Reaction
MagBind beads | 5 | 534 | TRUE
proteinase K | 5 | 534 | TRUE
total | 10 | 1068 | TRUE
Mini MM tube # and V | 8 | 133.5
use the space above to write any anomalies with the run as a whole or notes about particular samples.
Other Plates | 1x | Total (SPR doubled)
SPRx2 | 200 | 42720 | TRUE
VHB | 200 | 21360 | TRUE
h20 Elution | 50 | 5340 | TRUE

## pcr
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | CSU-24659 | CSU-24667 | CSU-24675 | CSU-24683 | CSU-24691 | CSU-24699 | CSU-24707 | CSU-24715 | CSU-24723 | CSU-24731 | CSU-24739 | wnv_std_1e6
B | CSU-24660 | CSU-24668 | CSU-24676 | CSU-24684 | CSU-24692 | CSU-24700 | CSU-24708 | CSU-24716 | CSU-24724 | CSU-24732 | CSU-24740 | wnv_std_1e4
C | CSU-24661 | CSU-24669 | CSU-24677 | CSU-24685 | CSU-24693 | CSU-24701 | CSU-24709 | CSU-24717 | CSU-24725 | CSU-24733 | CSU-24741 | wnv_std_1e2
D | CSU-24662 | CSU-24670 | CSU-24678 | CSU-24686 | CSU-24694 | CSU-24702 | CSU-24710 | CSU-24718 | CSU-24726 | CSU-24734 | CSU-24742 | slev_std_1e6
E | CSU-24663 | CSU-24671 | CSU-24679 | CSU-24687 | CSU-24695 | CSU-24703 | CSU-24711 | CSU-24719 | CSU-24727 | CSU-24735 | CSU-24743 | slev_std_1e4
F | CSU-24664 | CSU-24672 | CSU-24680 | CSU-24688 | CSU-24696 | CSU-24704 | CSU-24712 | CSU-24720 | CSU-24728 | CSU-24736 | CSU-24744 | slev_std_1e2
G | CSU-24665 | CSU-24673 | CSU-24681 | CSU-24689 | CSU-24697 | CSU-24705 | CSU-24713 | CSU-24721 | CSU-24729 | CSU-24737 | CSU-24745 | neg pcr ctrl
H | CSU-24666 | CSU-24674 | CSU-24682 | CSU-24690 | CSU-24698 | CSU-24706 | CSU-24714 | CSU-24722 | CSU-24730 | CSU-24738 | neg extract ctl | pos extract ctl
YOUR NAME |  | Kara
|  |  |  | full protocol here -----------------------> |  | SS - Multiplex qRT-PCR
SUPPLIES |  |  |  | PROTOCOL CHECKLIST
Machine/Reagent | Group | Lot/ID |  | changed pipettes between samples |  |  |  | FALSE
Quantstudio | FoCo | NA |  | neg pcr control added |  |  |  | FALSE
Mastermix | FoCo |  |  | standards added |  |  |  | FALSE
primer probe | FoCo | NA |  | Reagents put back in -4 C |  |  |  | FALSE
RT enzyme | FoCo |  |  | baseline threshold changed to 34000 and hit Analyze |  |  |  | FALSE
standards | FoCo | NA |  | Export .xls file with named "SS-y####-w#-p#-pcr" |  |  |  | FALSE
RXN INPUT |  |  |  | RUN NOTES
N samples | 96 | non blank values in platemap
Overage | 1.2 | % over recommended to ensure enough volume for pipetting
RXN CALCULATOR
MM1 Reagent | 1X | Total Reaction
Mastermix | 10 | 1152
Primer probe | 4 | 460.8
RT | 1 | 115.2
total | 15 | 1728
Mini MM tube # and V | 8 | 216
use the space above to write any anomalies with the run as a whole or notes about particular samples.