## instructions
Step | NAME | DESCRIPTION
1 | COPY | make a copy of this and put it in the "weekly_report_input_folder" that corresponds to the correct year and week.
2 | RENAME | Replace the # with the appropriate year, week and plate numbers in the name. Example year 2024, week 28 plate 2: SS_y2024_w28_p2_rna_extract_and_pcr_notebook
3 | PASTE | paste your platemap into the appropriate location in the rna and/or pcr sheet
4 | COMPLETE | Fill out all highlighted sections and rename this copied file with the "plate # or p#" in the title. This will be the platemap input in the pipeline
| * | Don't change the names of the sheets

## rna_extraction
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | CSU-24397 | CSU-24405 | CSU-24413 | CSU-24421 | CSU-24429 | CSU-24437 | CSU-24445 | CSU-24453 | CSU-24461 | CSU-24469 | CSU-24477 | wnv_std_1e6 | added in pcr*
B | CSU-24398 | CSU-24406 | CSU-24414 | CSU-24422 | CSU-24430 | CSU-24438 | CSU-24446 | CSU-24454 | CSU-24462 | CSU-24470 | CSU-24478 | wnv_std_1e4
C | CSU-24399 | CSU-24407 | CSU-24415 | CSU-24423 | CSU-24431 | CSU-24439 | CSU-24447 | CSU-24455 | CSU-24463 | CSU-24471 | CSU-24479 | wnv_std_1e2
D | CSU-24400 | CSU-24408 | CSU-24416 | CSU-24424 | CSU-24432 | CSU-24440 | CSU-24448 | CSU-24456 | CSU-24464 | CSU-24472 | CSU-24480 | slev_std_1e6
E | CSU-24401 | CSU-24409 | CSU-24417 | CSU-24425 | CSU-24433 | CSU-24441 | CSU-24449 | CSU-24457 | CSU-24465 | CSU-24473 | CSU-24481 | slev_std_1e4
F | CSU-24402 | CSU-24410 | CSU-24418 | CSU-24426 | CSU-24434 | CSU-24442 | CSU-24450 | CSU-24458 | CSU-24466 | CSU-24474 | CSU-24482 | slev_std_1e2
G | CSU-24403 | CSU-24411 | CSU-24419 | CSU-24427 | CSU-24435 | CSU-24443 | CSU-24451 | CSU-24459 | CSU-24467 | CSU-24475 | CSU-24483 | neg pcr ctrl
H | CSU-24404 | CSU-24412 | CSU-24420 | CSU-24428 | CSU-24436 | CSU-24444 | CSU-24452 | CSU-24460 | CSU-24468 | CSU-24476 | neg extract ctl | pos extract ctl
[5 empty] | full protocol here -----------------------> |  | SS - RNA extraction
YOUR NAME |  |  |  |  | PROTOCOL CHECKLIST
[5 empty] | take samples out of freezer to thaw |  |  |  | FALSE
SUPPLIES |  |  |  |  | ethanol added to SPR (check mark on bottle) |  |  |  | FALSE
Machine/Reagent | Group | Lot/ID |  |  | ethanol added to VHB (check mark on bottle) |  |  |  | FALSE
[5 empty] | positve and negative extraction controls added |  |  |  | FALSE
Kingfisher | FoCo | NA |  |  | pipettes changed between samples |  |  |  | FALSE
TNA Lysis Buffer | FoCo |  |  |  | beads at room temp |  |  |  | FALSE
Isopropanol | FoCo |  |  |  | beads vortexed |  |  |  | FALSE
Proteanase K | FoCo |  |  |  | beads and proteanase K thoroughly mixed prior to dispensing |  |  |  | FALSE
linear acrylamide | FoCo |  |  |  | maintenance plate run done prior to sample run |  |  |  | FALSE
magbind beads | FoCo |  |  |  | A1 of sample plate oriented to A1 in machine |  |  |  | FALSE
SPR | FoCo |  |  |  | Return tip plate to top of robot |  |  |  | FALSE
VHB | FoCo |  |  |  | VHB, SPR and SAMPLE Plates liquid in sink plates in gargabe |  |  |  | FALSE
dfh20 | FoCo |  |  |  | Elution plate sealed with microseal B and in freezer/fridge or immediately processed |  |  |  | FALSE
RXN INPUT |  |  |  |  | RUN NOTES
N samples | 166 | (non blank values in platemap, excluding standards and neg pcr ctrl)
Overage | 1.2 | % over recommended to ensure enough volume for pipetting
RXN CALCULATOR
Sample MM1 | 1X | Total Reaction | Added?
TNA lysis buffer | 60 | 11952 | FALSE
linear acrylamide | 1 | 199.2 | FALSE
isopropanol | 70 | 13944 | FALSE
total | 131 | 26095.2
Mini MM tube # and V | 8 | 3261.9
Sample MM2 | 1X | Total Reaction
MagBind beads | 5 | 996 | FALSE
proteinase K | 5 | 996 | FALSE
total | 10 | 1992 | FALSE
Mini MM tube # and V | 8 | 249
use the space above to write any anomalies with the run as a whole or notes about particular samples.
Other Plates | 1x | Total (SPR doubled)
SPRx2 | 200 | 79680 | FALSE
VHB | 200 | 39840 | FALSE
h20 Elution | 50 | 9960 | FALSE

## pcr
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | CSU-24397 | CSU-24405 | CSU-24413 | CSU-24421 | CSU-24429 | CSU-24437 | CSU-24445 | CSU-24453 | CSU-24461 | CSU-24469 | CSU-24477 | wnv_std_1e6
B | CSU-24398 | CSU-24406 | CSU-24414 | CSU-24422 | CSU-24430 | CSU-24438 | CSU-24446 | CSU-24454 | CSU-24462 | CSU-24470 | CSU-24478 | wnv_std_1e4
C | CSU-24399 | CSU-24407 | CSU-24415 | CSU-24423 | CSU-24431 | CSU-24439 | CSU-24447 | CSU-24455 | CSU-24463 | CSU-24471 | CSU-24479 | wnv_std_1e2
D | CSU-24400 | CSU-24408 | CSU-24416 | CSU-24424 | CSU-24432 | CSU-24440 | CSU-24448 | CSU-24456 | CSU-24464 | CSU-24472 | CSU-24480 | slev_std_1e6
E | CSU-24401 | CSU-24409 | CSU-24417 | CSU-24425 | CSU-24433 | CSU-24441 | CSU-24449 | CSU-24457 | CSU-24465 | CSU-24473 | CSU-24481 | slev_std_1e4
F | CSU-24402 | CSU-24410 | CSU-24418 | CSU-24426 | CSU-24434 | CSU-24442 | CSU-24450 | CSU-24458 | CSU-24466 | CSU-24474 | CSU-24482 | slev_std_1e2
G | CSU-24403 | CSU-24411 | CSU-24419 | CSU-24427 | CSU-24435 | CSU-24443 | CSU-24451 | CSU-24459 | CSU-24467 | CSU-24475 | CSU-24483 | pos extract ctl
H | CSU-24404 | CSU-24412 | CSU-24420 | CSU-24428 | CSU-24436 | CSU-24444 | CSU-24452 | CSU-24460 | CSU-24468 | CSU-24476 | neg extract ctl | pos extract ctl
YOUR NAME
|  |  |  | full protocol here -----------------------> |  | SS - Multiplex qRT-PCR
SUPPLIES |  |  |  | PROTOCOL CHECKLIST
Machine/Reagent | Group | Lot/ID |  | changed pipettes between samples |  |  |  | FALSE
Quantstudio | FoCo | NA |  | neg pcr control added |  |  |  | FALSE
Mastermix | FoCo |  |  | standards added |  |  |  | FALSE
primer probe | FoCo | NA |  | Reagents put back in -4 C |  |  |  | FALSE
RT enzyme | FoCo |  |  | baseline threshold changed to 34000 and hit Analyze |  |  |  | FALSE
standards | FoCo | NA |  | Export .xls file with named "SS-y####-w#-p#-pcr" |  |  |  | FALSE
RXN INPUT |  |  |  | RUN NOTES
N samples | 180 | non blank values in platemap
Overage | 1.2 | % over recommended to ensure enough volume for pipetting
RXN CALCULATOR
MM1 Reagent | 1X | Total Reaction
Mastermix | 10 | 2160
Primer probe | 4 | 864
RT | 1 | 216
total | 15 | 3240
Mini MM tube # and V | 8 | 405
use the space above to write any anomalies with the run as a whole or notes about particular samples.