## instructions
Step | NAME | DESCRIPTION
1 | COPY | make a copy of this and put it in the "weekly_report_input_folder" that corresponds to the correct year and week.
2 | RENAME | Replace the # with the appropriate year, week and plate numbers in the name. Example year 24, week 28 plate 2: SS_y24_w28_p2_rna_extract_and_pcr_notebook
3 | PASTE | paste your platemap into the appropriate location in the rna and/or pcr sheet
4 | COMPLETE | Fill out all highlighted sections and rename this copied file with the "plate # or p#" in the title. This will be the platemap input in the pipeline
| * | Don't change the names of the sheets

## rna_extraction
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | CSU-23665 | CSU-23673 | CSU-23681 | CSU-23689 | CSU-23697 | CSU-23705 | CSU-23713 | CSU-23721 | CSU-23729 | CSU-23737 | CSU-23745 | wnv_std_1e6 | added in pcr*
B | CSU-23666 | CSU-23674 | CSU-23682 | CSU-23690 | CSU-23698 | CSU-23706 | CSU-23714 | CSU-23722 | CSU-23730 | CSU-23738 | CSU-23746 | wnv_std_1e4
C | CSU-23667 | CSU-23675 | CSU-23683 | CSU-23691 | CSU-23699 | CSU-23707 | CSU-23715 | CSU-23723 | CSU-23731 | CSU-23739 | CSU-23747 | wnv_std_1e2
D | CSU-23668 | CSU-23676 | CSU-23684 | CSU-23692 | CSU-23700 | CSU-23708 | CSU-23716 | CSU-23724 | CSU-23732 | CSU-23740 | CSU-23748 | slev_std_1e6
E | CSU-23669 | CSU-23677 | CSU-23685 | CSU-23693 | CSU-23701 | CSU-23709 | CSU-23717 | CSU-23725 | CSU-23733 | CSU-23741 | CSU-23749 | slev_std_1e4
F | CSU-23670 | CSU-23678 | CSU-23686 | CSU-23694 | CSU-23702 | CSU-23710 | CSU-23718 | CSU-23726 | CSU-23734 | CSU-23742 | CSU-23750 | slev_std_1e2
G | CSU-23671 | CSU-23679 | CSU-23687 | CSU-23695 | CSU-23703 | CSU-23711 | CSU-23719 | CSU-23727 | CSU-23735 | CSU-23743 | CSU-23751 | neg pcr ctrl
H | CSU-23672 | CSU-23680 | CSU-23688 | CSU-23696 | CSU-23704 | CSU-23712 | CSU-23720 | CSU-23728 | CSU-23736 | CSU-23744 | pos extract ctl | neg extract ctl
[5 empty] | full protocol here -----------------------> |  | SS - RNA extraction
YOUR NAME |  | Kara |  |  | PROTOCOL CHECKLIST
[5 empty] | take samples out of freezer to thaw |  |  |  | TRUE
SUPPLIES |  |  |  |  | ethanol added to SPR (check mark on bottle) |  |  |  | TRUE
Machine/Reagent | Group | Lot/ID |  |  | ethanol added to VHB (check mark on bottle) |  |  |  | TRUE
[5 empty] | positve and negative extraction controls added |  |  |  | TRUE
Kingfisher | FoCo | NA |  |  | pipettes changed between samples |  |  |  | TRUE
TNA Lysis Buffer | FoCo |  |  |  | beads at room temp |  |  |  | TRUE
Isopropanol | FoCo |  |  |  | beads vortexed |  |  |  | TRUE
Proteanase K | FoCo |  |  |  | beads and proteanase K thoroughly mixed prior to dispensing |  |  |  | TRUE
linear acrylamide | FoCo |  |  |  | maintenance plate run done prior to sample run |  |  |  | TRUE
magbind beads | FoCo |  |  |  | A1 of sample plate oriented to A1 in machine |  |  |  | TRUE
SPR | FoCo |  |  |  | Return tip plate to top of robot |  |  |  | TRUE
VHB | FoCo |  |  |  | VHB, SPR and SAMPLE Plates liquid in sink plates in gargabe |  |  |  | TRUE
dfh20 | FoCo |  |  |  | Elution plate sealed with microseal B and in freezer/fridge or immediately processed |  |  |  | TRUE
RXN INPUT |  |  |  |  | RUN NOTES
N samples | 89 | (non blank values in platemap, excluding standards and neg pcr ctrl)
Overage | 1.2 | % over recommended to ensure enough volume for pipetting
RXN CALCULATOR
Sample MM1 | 1X | Total Reaction | Added?
TNA lysis buffer | 60 | 6408 | TRUE
linear acrylamide | 1 | 106.8 | TRUE
isopropanol | 70 | 7476 | TRUE
total | 131 | 13990.8
Mini MM tube # and V | 8 | 1748.85
Sample MM2 | 1X | Total Reaction
MagBind beads | 5 | 534 | TRUE
proteinase K | 5 | 534 | TRUE
total | 10 | 1068 | TRUE
Mini MM tube # and V | 8 | 133.5
use the space above to write any anomalies with the run as a whole or notes about particular samples.
Other Plates | 1x | Total (SPR doubled)
SPRx2 | 200 | 42720 | TRUE
VHB | 200 | 21360 | TRUE
h20 Elution | 50 | 5340 | TRUE

## pcr
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | CSU-23665 | CSU-23673 | CSU-23681 | CSU-23689 | CSU-23697 | CSU-23705 | CSU-23713 | CSU-23721 | CSU-23729 | CSU-23737 | CSU-23745 | wnv_std_1e6
B | CSU-23666 | CSU-23674 | CSU-23682 | CSU-23690 | CSU-23698 | CSU-23706 | CSU-23714 | CSU-23722 | CSU-23730 | CSU-23738 | CSU-23746 | wnv_std_1e4
C | CSU-23667 | CSU-23675 | CSU-23683 | CSU-23691 | CSU-23699 | CSU-23707 | CSU-23715 | CSU-23723 | CSU-23731 | CSU-23739 | CSU-23747 | wnv_std_1e2
D | CSU-23668 | CSU-23676 | CSU-23684 | CSU-23692 | CSU-23700 | CSU-23708 | CSU-23716 | CSU-23724 | CSU-23732 | CSU-23740 | CSU-23748 | slev_std_1e6
E | CSU-23669 | CSU-23677 | CSU-23685 | CSU-23693 | CSU-23701 | CSU-23709 | CSU-23717 | CSU-23725 | CSU-23733 | CSU-23741 | CSU-23749 | slev_std_1e4
F | CSU-23670 | CSU-23678 | CSU-23686 | CSU-23694 | CSU-23702 | CSU-23710 | CSU-23718 | CSU-23726 | CSU-23734 | CSU-23742 | CSU-23750 | slev_std_1e2
G | CSU-23671 | CSU-23679 | CSU-23687 | CSU-23695 | CSU-23703 | CSU-23711 | CSU-23719 | CSU-23727 | CSU-23735 | CSU-23743 | CSU-23751 | neg pcr ctrl
H | CSU-23672 | CSU-23680 | CSU-23688 | CSU-23696 | CSU-23704 | CSU-23712 | CSU-23720 | CSU-23728 | CSU-23736 | CSU-23744 | pos extract ctl | neg extract ctl
YOUR NAME |  | Kara
|  |  |  | full protocol here -----------------------> |  | SS - Multiplex qRT-PCR
SUPPLIES |  |  |  | PROTOCOL CHECKLIST
Machine/Reagent | Group | Lot/ID |  | changed pipettes between samples |  |  |  | TRUE
Quantstudio | FoCo | NA |  | neg pcr control added |  |  |  | TRUE
Mastermix | FoCo |  |  | standards added |  |  |  | TRUE
primer probe | FoCo | NA |  | Reagents put back in -4 C |  |  |  | TRUE
RT enzyme | FoCo |  |  | baseline threshold changed to 34000 and hit Analyze |  |  |  | TRUE
standards | FoCo | NA |  | Export .xls file with named "SS-y##-w#-p#-pcr" |  |  |  | TRUE
RXN INPUT |  |  |  | RUN NOTES
N samples | 96 | non blank values in platemap
Overage | 1.2 | % over recommended to ensure enough volume for pipetting
RXN CALCULATOR
MM1 Reagent | 1X | Total Reaction
Mastermix | 10 | 1152
Primer probe | 4 | 460.8
RT | 1 | 115.2
total | 15 | 1728
Mini MM tube # and V | 8 | 216
use the space above to write any anomalies with the run as a whole or notes about particular samples.