## instructions
Step | NAME | DESCRIPTION
1 | COPY | make a copy of this and put it in the "weekly_report_input_folder" that corresponds to the correct year and week.
2 | RENAME | Replace the # with the appropriate year, week and plate numbers in the name. Example year 2024, week 28 plate 2: SS_y2024_w28_p2_rna_extract_and_pcr_notebook
3 | PASTE | paste your platemap into the appropriate location in the rna and/or pcr sheet
4 | COMPLETE | Fill out all highlighted sections and rename this copied file with the "plate # or p#" in the title. This will be the platemap input in the pipeline
| * | Don't change the names of the sheets

## rna_extraction
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | CSU-25475 | CSU-25483 | CSU-25491 | CSU-25499 | BOU-00373 | RMRP-00978 | RMRP-00986 |  |  |  |  | wnv_std_1e6 | added in pcr*
B | CSU-25476 | CSU-25484 | CSU-25492 | CSU-25500 | BOU-00374 | RMRP-00979 | RMRP-00987 |  |  |  |  | wnv_std_1e4
C | CSU-25477 | CSU-25485 | CSU-25493 | CSU-25501 | BOU-00375 | RMRP-00980 | RMRP-00988 |  |  |  |  | wnv_std_1e2
D | CSU-25478 | CSU-25486 | CSU-25494 | CSU-25502 | BOU-00376 | RMRP-00981 | RMRP-00989 |  |  |  |  | slev_std_1e6
E | CSU-25479 | CSU-25487 | CSU-25495 | CSU-25503 | RMRP-00974 | RMRP-00982 | RMRP-00990 |  |  |  |  | slev_std_1e4
F | CSU-25480 | CSU-25488 | CSU-25496 | BOU-00370 | RMRP-00975 | RMRP-00983 | [5 empty] | slev_std_1e2
G | CSU-25481 | CSU-25489 | CSU-25497 | BOU-00371 | RMRP-00976 | RMRP-00984 | [5 empty] | neg pcr ctrl
H | CSU-25482 | CSU-25490 | CSU-25498 | BOU-00372 | RMRP-00977 | RMRP-00985 |  |  |  |  | neg extract ctl | pos extract ctl
[5 empty] | full protocol here -----------------------> |  | SS - RNA extraction
YOUR NAME |  |  |  |  | PROTOCOL CHECKLIST
[5 empty] | take samples out of freezer to thaw |  |  |  | FALSE
SUPPLIES |  |  |  |  | ethanol added to SPR (check mark on bottle) |  |  |  | FALSE
Machine/Reagent | Group | Lot/ID |  |  | ethanol added to VHB (check mark on bottle) |  |  |  | FALSE
[5 empty] | positve and negative extraction controls added |  |  |  | FALSE
Kingfisher | FoCo | NA |  |  | pipettes changed between samples |  |  |  | FALSE
TNA Lysis Buffer | FoCo |  |  |  | beads at room temp |  |  |  | FALSE
Isopropanol | FoCo |  |  |  | beads vortexed |  |  |  | FALSE
Proteanase K | FoCo |  |  |  | beads and proteanase K thoroughly mixed prior to dispensing |  |  |  | FALSE
linear acrylamide | FoCo |  |  |  | maintenance plate run done prior to sample run |  |  |  | FALSE
magbind beads | FoCo |  |  |  | A1 of sample plate oriented to A1 in machine |  |  |  | FALSE
SPR | FoCo |  |  |  | Return tip plate to top of robot |  |  |  | FALSE
VHB | FoCo |  |  |  | VHB, SPR and SAMPLE Plates liquid in sink plates in gargabe |  |  |  | FALSE
dfh20 | FoCo |  |  |  | Elution plate sealed with microseal B and in freezer/fridge or immediately processed |  |  |  | FALSE
RXN INPUT |  |  |  |  | RUN NOTES
N samples | 55 | (non blank values in platemap, excluding standards and neg pcr ctrl)
Overage | 1.2 | % over recommended to ensure enough volume for pipetting
RXN CALCULATOR
Sample MM1 | 1X | Total Reaction | Added?
TNA lysis buffer | 60 | 3960 | FALSE
linear acrylamide | 1 | 66 | FALSE
isopropanol | 70 | 4620 | FALSE
total | 131 | 8646
Mini MM tube # and V | 8 | 1080.75
Sample MM2 | 1X | Total Reaction
MagBind beads | 5 | 330 | FALSE
proteinase K | 5 | 330 | FALSE
total | 10 | 660 | FALSE
Mini MM tube # and V | 8 | 82.5
use the space above to write any anomalies with the run as a whole or notes about particular samples.
Other Plates | 1x | Total (SPR doubled)
SPRx2 | 200 | 26400 | FALSE
VHB | 200 | 13200 | FALSE
h20 Elution | 50 | 3300 | FALSE

## pcr
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | CSU-25475 | CSU-25483 | CSU-25491 | CSU-25499 | BOU-00373 | RMRP-00978 | RMRP-00986 |  |  |  |  | wnv_std_1e6
B | CSU-25476 | CSU-25484 | CSU-25492 | CSU-25500 | BOU-00374 | RMRP-00979 | RMRP-00987 |  |  |  |  | wnv_std_1e4
C | CSU-25477 | CSU-25485 | CSU-25493 | CSU-25501 | BOU-00375 | RMRP-00980 | RMRP-00988 |  |  |  |  | wnv_std_1e2
D | CSU-25478 | CSU-25486 | CSU-25494 | CSU-25502 | BOU-00376 | RMRP-00981 | RMRP-00989 |  |  |  |  | slev_std_1e6
E | CSU-25479 | CSU-25487 | CSU-25495 | CSU-25503 | RMRP-00974 | RMRP-00982 | RMRP-00990 |  |  |  |  | slev_std_1e4
F | CSU-25480 | CSU-25488 | CSU-25496 | BOU-00370 | RMRP-00975 | RMRP-00983 | [5 empty] | slev_std_1e2
G | CSU-25481 | CSU-25489 | CSU-25497 | BOU-00371 | RMRP-00976 | RMRP-00984 | [5 empty] | neg pcr ctrl
H | CSU-25482 | CSU-25490 | CSU-25498 | BOU-00372 | RMRP-00977 | RMRP-00985 |  |  |  |  | neg extract ctl | pos extract ctl
YOUR NAME
|  |  |  | full protocol here -----------------------> |  | SS - Multiplex qRT-PCR
SUPPLIES |  |  |  | PROTOCOL CHECKLIST
Machine/Reagent | Group | Lot/ID |  | changed pipettes between samples |  |  |  | FALSE
Quantstudio | FoCo | NA |  | neg pcr control added |  |  |  | FALSE
Mastermix | FoCo |  |  | standards added |  |  |  | FALSE
primer probe | FoCo | NA |  | Reagents put back in -4 C |  |  |  | FALSE
RT enzyme | FoCo |  |  | baseline threshold changed to 34000 and hit Analyze |  |  |  | FALSE
standards | FoCo | NA |  | Export .xls file with named "SS-y####-w#-p#-pcr" |  |  |  | FALSE
RXN INPUT |  |  |  | RUN NOTES
N samples | 62 | non blank values in platemap
Overage | 1.2 | % over recommended to ensure enough volume for pipetting
RXN CALCULATOR
MM1 Reagent | 1X | Total Reaction
Mastermix | 10 | 744
Primer probe | 4 | 297.6
RT | 1 | 74.4
total | 15 | 1116
Mini MM tube # and V | 8 | 139.5
use the space above to write any anomalies with the run as a whole or notes about particular samples.

## Sheet4
QC and setting thresholds
When the run is complete, eject the plate and throw it in the garbage.
On the laptop, open the results tab, it will automatically show the ‘amplification plot’ which is a derived number. Change dropdown to multicomponent plot to see actual raw data and fluorescence increase over time.
The software automatically sets thresholds, but it can be updated manually:
From ‘All Targets’ dropdown, select your target (SLEV or WNV)
Click eye icon, unclick ‘auto’ next to threshold, and type in 34,000.
Do the same thing for the other target (WNV or SLEV).
Click “analyze” in the top right corner.
Plug in a USB to the laptop (need to unplug the mouse).
Under the export tab, click browse, select USB (Ebel lab computer is not on the internet), click export.
Close file, click save if prompted.