## instructions
Step | NAME | DESCRIPTION
1 | COPY | make a copy of this and put it in the "weekly_report_input_folder" that corresponds to the correct year and week.
2 | RENAME | Replace the # with the appropriate year, week and plate numbers in the name. Example year 24, week 28 plate 2: SS_y24_w28_p2_rna_extract_and_pcr_notebook
3 | PASTE | paste your platemap into the appropriate location in the rna and/or pcr sheet
4 | COMPLETE | Fill out all highlighted sections and rename this copied file with the "plate # or p#" in the title. This will be the platemap input in the pipeline
| * | Don't change the names of the sheets

## rna_extraction
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | CSU-23995 | CSU-24003 | CSU-24011 | CSU-24019 | CSU-24027 | CSU-24035 | CSU-24043 | CSU-24051 | CSU-24059 | CSU-24067 | CSU-24075 | wnv_std_1e6 | added in pcr*
B | CSU-23996 | CSU-24004 | CSU-24012 | CSU-24020 | CSU-24028 | CSU-24036 | CSU-24044 | CSU-24052 | CSU-24060 | CSU-24068 | CSU-24076 | wnv_std_1e4
C | CSU-23997 | CSU-24005 | CSU-24013 | CSU-24021 | CSU-24029 | CSU-24037 | CSU-24045 | CSU-24053 | CSU-24061 | CSU-24069 | CSU-24077 | wnv_std_1e2
D | CSU-23998 | CSU-24006 | CSU-24014 | CSU-24022 | CSU-24030 | CSU-24038 | CSU-24046 | CSU-24054 | CSU-24062 | CSU-24070 | CSU-24078 | slev_std_1e6
E | CSU-23999 | CSU-24007 | CSU-24015 | CSU-24023 | CSU-24031 | CSU-24039 | CSU-24047 | CSU-24055 | CSU-24063 | CSU-24071 | CSU-24079 | slev_std_1e4
F | CSU-24000 | CSU-24008 | CSU-24016 | CSU-24024 | CSU-24032 | CSU-24040 | CSU-24048 | CSU-24056 | CSU-24064 | CSU-24072 | CSU-24080 | slev_std_1e2
G | CSU-24001 | CSU-24009 | CSU-24017 | CSU-24025 | CSU-24033 | CSU-24041 | CSU-24049 | CSU-24057 | CSU-24065 | CSU-24073 | CSU-24081 | neg pcr ctrl
H | CSU-24002 | CSU-24010 | CSU-24018 | CSU-24026 | CSU-24034 | CSU-24042 | CSU-24050 | CSU-24058 | CSU-24066 | CSU-24074 | neg extract ctl | pos extract ctl
[5 empty] | full protocol here -----------------------> |  | SS - RNA extraction
YOUR NAME |  | Kara |  |  | PROTOCOL CHECKLIST
[5 empty] | take samples out of freezer to thaw |  |  |  | TRUE
SUPPLIES |  |  |  |  | ethanol added to SPR (check mark on bottle) |  |  |  | TRUE
Machine/Reagent | Group | Lot/ID |  |  | ethanol added to VHB (check mark on bottle) |  |  |  | TRUE
[5 empty] | positve and negative extraction controls added |  |  |  | TRUE
Kingfisher | FoCo | NA |  |  | pipettes changed between samples |  |  |  | TRUE
TNA Lysis Buffer | FoCo |  |  |  | beads at room temp |  |  |  | TRUE
Isopropanol | FoCo |  |  |  | beads vortexed |  |  |  | TRUE
Proteanase K | FoCo |  |  |  | beads and proteanase K thoroughly mixed prior to dispensing |  |  |  | TRUE
linear acrylamide | FoCo |  |  |  | maintenance plate run done prior to sample run |  |  |  | TRUE
magbind beads | FoCo |  |  |  | A1 of sample plate oriented to A1 in machine |  |  |  | TRUE
SPR | FoCo |  |  |  | Return tip plate to top of robot |  |  |  | TRUE
VHB | FoCo |  |  |  | VHB, SPR and SAMPLE Plates liquid in sink plates in gargabe |  |  |  | TRUE
dfh20 | FoCo |  |  |  | Elution plate sealed with microseal B and in freezer/fridge or immediately processed |  |  |  | TRUE
RXN INPUT |  |  |  |  | RUN NOTES
N samples | 89 | (non blank values in platemap, excluding standards and neg pcr ctrl)
Overage | 1.2 | % over recommended to ensure enough volume for pipetting
RXN CALCULATOR
Sample MM1 | 1X | Total Reaction | Added?
TNA lysis buffer | 60 | 6408 | TRUE
linear acrylamide | 1 | 106.8 | TRUE
isopropanol | 70 | 7476 | TRUE
total | 131 | 13990.8
Mini MM tube # and V | 8 | 1748.85
Sample MM2 | 1X | Total Reaction
MagBind beads | 5 | 534 | TRUE
proteinase K | 5 | 534 | TRUE
total | 10 | 1068 | TRUE
Mini MM tube # and V | 8 | 133.5
use the space above to write any anomalies with the run as a whole or notes about particular samples.
Other Plates | 1x | Total (SPR doubled)
SPRx2 | 200 | 42720 | TRUE
VHB | 200 | 21360 | TRUE
h20 Elution | 50 | 5340 | TRUE

## pcr
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | CSU-23995 | CSU-24003 | CSU-24011 | CSU-24019 | CSU-24027 | CSU-24035 | CSU-24043 | CSU-24051 | CSU-24059 | CSU-24067 | CSU-24075 | wnv_std_1e6
B | CSU-23996 | CSU-24004 | CSU-24012 | CSU-24020 | CSU-24028 | CSU-24036 | CSU-24044 | CSU-24052 | CSU-24060 | CSU-24068 | CSU-24076 | wnv_std_1e4
C | CSU-23997 | CSU-24005 | CSU-24013 | CSU-24021 | CSU-24029 | CSU-24037 | CSU-24045 | CSU-24053 | CSU-24061 | CSU-24069 | CSU-24077 | wnv_std_1e2
D | CSU-23998 | CSU-24006 | CSU-24014 | CSU-24022 | CSU-24030 | CSU-24038 | CSU-24046 | CSU-24054 | CSU-24062 | CSU-24070 | CSU-24078 | slev_std_1e6
E | CSU-23999 | CSU-24007 | CSU-24015 | CSU-24023 | CSU-24031 | CSU-24039 | CSU-24047 | CSU-24055 | CSU-24063 | CSU-24071 | CSU-24079 | slev_std_1e4
F | CSU-24000 | CSU-24008 | CSU-24016 | CSU-24024 | CSU-24032 | CSU-24040 | CSU-24048 | CSU-24056 | CSU-24064 | CSU-24072 | CSU-24080 | slev_std_1e2
G | CSU-24001 | CSU-24009 | CSU-24017 | CSU-24025 | CSU-24033 | CSU-24041 | CSU-24049 | CSU-24057 | CSU-24065 | CSU-24073 | CSU-24081 | neg pcr ctrl
H | CSU-24002 | CSU-24010 | CSU-24018 | CSU-24026 | CSU-24034 | CSU-24042 | CSU-24050 | CSU-24058 | CSU-24066 | CSU-24074 | neg extract ctl | pos extract ctl
YOUR NAME |  | Kara
|  |  |  | full protocol here -----------------------> |  | SS - Multiplex qRT-PCR
SUPPLIES |  |  |  | PROTOCOL CHECKLIST
Machine/Reagent | Group | Lot/ID |  | changed pipettes between samples |  |  |  | TRUE
Quantstudio | FoCo | NA |  | neg pcr control added |  |  |  | TRUE
Mastermix | FoCo |  |  | standards added |  |  |  | TRUE
primer probe | FoCo | NA |  | Reagents put back in -4 C |  |  |  | TRUE
RT enzyme | FoCo |  |  | baseline threshold changed to 34000 and hit Analyze |  |  |  | TRUE
standards | FoCo | NA |  | Export .xls file with named "SS-y##-w#-p#-pcr" |  |  |  | TRUE
RXN INPUT |  |  |  | RUN NOTES
N samples | 96 | non blank values in platemap
Overage | 1.2 | % over recommended to ensure enough volume for pipetting
RXN CALCULATOR
MM1 Reagent | 1X | Total Reaction
Mastermix | 10 | 1152
Primer probe | 4 | 460.8
RT | 1 | 115.2
total | 15 | 1728
Mini MM tube # and V | 8 | 216
use the space above to write any anomalies with the run as a whole or notes about particular samples.