## instructions
Step | NAME | DESCRIPTION
1 | COPY | make a copy of this and put it in the "weekly_report_input_folder" that corresponds to the correct year and week.
2 | RENAME | Replace the # with the appropriate year, week and plate numbers in the name. Example year 24, week 28 plate 2: SS_y24_w28_p2_rna_extract_and_pcr_notebook
3 | PASTE | paste your platemap into the appropriate location in the rna and/or pcr sheet
4 | COMPLETE | Fill out all highlighted sections and rename this copied file with the "plate # or p#" in the title. This will be the platemap input in the pipeline
| * | Don't change the names of the sheets

## rna_extraction
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | CSU-24124 | CSU-24132 | CSU-24140 | CSU-24148 | CSU-24156 | CSU-24164 | CSU-24172 | CSU-24180 | CSU-24188 | CSU-24196 | CSU-24204 | wnv_std_1e6 | added in pcr*
B | CSU-24125 | CSU-24133 | CSU-24141 | CSU-24149 | CSU-24157 | CSU-24165 | CSU-24173 | CSU-24181 | CSU-24189 | CSU-24197 | CSU-24205 | wnv_std_1e4
C | CSU-24126 | CSU-24134 | CSU-24142 | CSU-24150 | CSU-24158 | CSU-24166 | CSU-24174 | CSU-24182 | CSU-24190 | CSU-24198 | CSU-24206 | wnv_std_1e2
D | CSU-24127 | CSU-24135 | CSU-24143 | CSU-24151 | CSU-24159 | CSU-24167 | CSU-24175 | CSU-24183 | CSU-24191 | CSU-24199 | CSU-24207 | slev_std_1e6
E | CSU-24128 | CSU-24136 | CSU-24144 | CSU-24152 | CSU-24160 | CSU-24168 | CSU-24176 | CSU-24184 | CSU-24192 | CSU-24200 | CSU-24208 | slev_std_1e4
F | CSU-24129 | CSU-24137 | CSU-24145 | CSU-24153 | CSU-24161 | CSU-24169 | CSU-24177 | CSU-24185 | CSU-24193 | CSU-24201 | CSU-24209 | slev_std_1e2
G | CSU-24130 | CSU-24138 | CSU-24146 | CSU-24154 | CSU-24162 | CSU-24170 | CSU-24178 | CSU-24186 | CSU-24194 | CSU-24202 | CSU-24210 | neg pcr ctrl
H | CSU-24131 | CSU-24139 | CSU-24147 | CSU-24155 | CSU-24163 | CSU-24171 | CSU-24179 | CSU-24187 | CSU-24195 | CSU-24203 | neg extract ctl | pos extract ctl
[5 empty] | full protocol here -----------------------> |  | SS - RNA extraction
YOUR NAME |  | Kara |  |  | PROTOCOL CHECKLIST
[5 empty] | take samples out of freezer to thaw |  |  |  | TRUE
SUPPLIES |  |  |  |  | ethanol added to SPR (check mark on bottle) |  |  |  | TRUE
Machine/Reagent | Group | Lot/ID |  |  | ethanol added to VHB (check mark on bottle) |  |  |  | TRUE
[5 empty] | positve and negative extraction controls added |  |  |  | TRUE
Kingfisher | FoCo | NA |  |  | pipettes changed between samples |  |  |  | TRUE
TNA Lysis Buffer | FoCo |  |  |  | beads at room temp |  |  |  | TRUE
Isopropanol | FoCo |  |  |  | beads vortexed |  |  |  | TRUE
Proteanase K | FoCo |  |  |  | beads and proteanase K thoroughly mixed prior to dispensing |  |  |  | TRUE
linear acrylamide | FoCo |  |  |  | maintenance plate run done prior to sample run |  |  |  | TRUE
magbind beads | FoCo |  |  |  | A1 of sample plate oriented to A1 in machine |  |  |  | TRUE
SPR | FoCo |  |  |  | Return tip plate to top of robot |  |  |  | TRUE
VHB | FoCo |  |  |  | VHB, SPR and SAMPLE Plates liquid in sink plates in gargabe |  |  |  | TRUE
dfh20 | FoCo |  |  |  | Elution plate sealed with microseal B and in freezer/fridge or immediately processed |  |  |  | TRUE
RXN INPUT |  |  |  |  | RUN NOTES
N samples | 89 | (non blank values in platemap, excluding standards and neg pcr ctrl)
Overage | 1.2 | % over recommended to ensure enough volume for pipetting
RXN CALCULATOR
Sample MM1 | 1X | Total Reaction | Added?
TNA lysis buffer | 60 | 6408 | TRUE
linear acrylamide | 1 | 106.8 | TRUE
isopropanol | 70 | 7476 | TRUE
total | 131 | 13990.8
Mini MM tube # and V | 8 | 1748.85
Sample MM2 | 1X | Total Reaction
MagBind beads | 5 | 534 | TRUE
proteinase K | 5 | 534 | TRUE
total | 10 | 1068 | TRUE
Mini MM tube # and V | 8 | 133.5
use the space above to write any anomalies with the run as a whole or notes about particular samples.
Other Plates | 1x | Total (SPR doubled)
SPRx2 | 200 | 42720 | TRUE
VHB | 200 | 21360 | TRUE
h20 Elution | 50 | 5340 | TRUE

## pcr
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | CSU-24124 | CSU-24132 | CSU-24140 | CSU-24148 | CSU-24156 | CSU-24164 | CSU-24172 | CSU-24180 | CSU-24188 | CSU-24196 | CSU-24204 | wnv_std_1e6
B | CSU-24125 | CSU-24133 | CSU-24141 | CSU-24149 | CSU-24157 | CSU-24165 | CSU-24173 | CSU-24181 | CSU-24189 | CSU-24197 | CSU-24205 | wnv_std_1e4
C | CSU-24126 | CSU-24134 | CSU-24142 | CSU-24150 | CSU-24158 | CSU-24166 | CSU-24174 | CSU-24182 | CSU-24190 | CSU-24198 | CSU-24206 | wnv_std_1e2
D | CSU-24127 | CSU-24135 | CSU-24143 | CSU-24151 | CSU-24159 | CSU-24167 | CSU-24175 | CSU-24183 | CSU-24191 | CSU-24199 | CSU-24207 | slev_std_1e6
E | CSU-24128 | CSU-24136 | CSU-24144 | CSU-24152 | CSU-24160 | CSU-24168 | CSU-24176 | CSU-24184 | CSU-24192 | CSU-24200 | CSU-24208 | slev_std_1e4
F | CSU-24129 | CSU-24137 | CSU-24145 | CSU-24153 | CSU-24161 | CSU-24169 | CSU-24177 | CSU-24185 | CSU-24193 | CSU-24201 | CSU-24209 | slev_std_1e2
G | CSU-24130 | CSU-24138 | CSU-24146 | CSU-24154 | CSU-24162 | CSU-24170 | CSU-24178 | CSU-24186 | CSU-24194 | CSU-24202 | CSU-24210 | neg pcr ctrl
H | CSU-24131 | CSU-24139 | CSU-24147 | CSU-24155 | CSU-24163 | CSU-24171 | CSU-24179 | CSU-24187 | CSU-24195 | CSU-24203 | neg extract ctl | pos extract ctl
YOUR NAME |  | Kara
|  |  |  | full protocol here -----------------------> |  | SS - Multiplex qRT-PCR
SUPPLIES |  |  |  | PROTOCOL CHECKLIST
Machine/Reagent | Group | Lot/ID |  | changed pipettes between samples |  |  |  | TRUE
Quantstudio | FoCo | NA |  | neg pcr control added |  |  |  | TRUE
Mastermix | FoCo |  |  | standards added |  |  |  | TRUE
primer probe | FoCo | NA |  | Reagents put back in -4 C |  |  |  | TRUE
RT enzyme | FoCo |  |  | baseline threshold changed to 34000 and hit Analyze |  |  |  | TRUE
standards | FoCo | NA |  | Export .xls file with named "SS-y##-w#-p#-pcr" |  |  |  | TRUE
RXN INPUT |  |  |  | RUN NOTES
N samples | 96 | non blank values in platemap
Overage | 1.2 | % over recommended to ensure enough volume for pipetting
RXN CALCULATOR
MM1 Reagent | 1X | Total Reaction
Mastermix | 10 | 1152
Primer probe | 4 | 460.8
RT | 1 | 115.2
total | 15 | 1728
Mini MM tube # and V | 8 | 216
use the space above to write any anomalies with the run as a whole or notes about particular samples.