## instructions
Step | NAME | DESCRIPTION
1 | COPY | make a copy of this and put it in the "weekly_report_input_folder" that corresponds to the correct year and week.
2 | RENAME | Replace the # with the appropriate year, week and plate numbers in the name. Example year 24, week 28 plate 2: SS_y24_w28_p2_rna_extract_and_pcr_notebook
3 | PASTE | paste your platemap into the appropriate location in the rna and/or pcr sheet
4 | COMPLETE | Fill out all highlighted sections and rename this copied file with the "plate # or p#" in the title. This will be the platemap input in the pipeline
| * | Don't change the names of the sheets

## rna_extraction
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | CSU-24211 | CSU-24219 | CSU-24227 | CSU-24235 | CSU-24243 | CSU-24251 | BOU-00299 | RMRP-000805 | RMRP-000813 | RMRP-000821 |  | wnv_std_1e6 | added in pcr*
B | CSU-24212 | CSU-24220 | CSU-24228 | CSU-24236 | CSU-24244 | CSU-24252 | BOU-00300 | RMRP-000806 | RMRP-000814 | RMRP-000822 |  | wnv_std_1e4
C | CSU-24213 | CSU-24221 | CSU-24229 | CSU-24237 | CSU-24245 | CSU-24253 | BOU-00301 | RMRP-000807 | RMRP-000815 | RMRP-000823 |  | wnv_std_1e2
D | CSU-24214 | CSU-24222 | CSU-24230 | CSU-24238 | CSU-24246 | CSU-24254 | BOU-00302 | RMRP-000808 | RMRP-000816 | RMRP-000824 |  | slev_std_1e6
E | CSU-24215 | CSU-24223 | CSU-24231 | CSU-24239 | CSU-24247 | CSU-24255 | RMRP-000801 | RMRP-000809 | RMRP-000817 | RMRP-000825 |  | slev_std_1e4
F | CSU-24216 | CSU-24224 | CSU-24232 | CSU-24240 | CSU-24248 | CSU-24256 | RMRP-000802 | RMRP-000810 | RMRP-000818 | RMRP-000826 |  | slev_std_1e2
G | CSU-24217 | CSU-24225 | CSU-24233 | CSU-24241 | CSU-24249 | BOU-00297 | RMRP-000803 | RMRP-000811 | RMRP-000819 | RMRP-000827 |  | neg pcr ctrl
H | CSU-24218 | CSU-24226 | CSU-24234 | CSU-24242 | CSU-24250 | BOU-00298 | RMRP-000804 | RMRP-000812 | RMRP-000820 |  | neg extract ctl | pos extract ctl
[5 empty] | full protocol here -----------------------> |  | SS - RNA extraction
YOUR NAME |  | Kara |  |  | PROTOCOL CHECKLIST
[5 empty] | take samples out of freezer to thaw |  |  |  | TRUE
SUPPLIES |  |  |  |  | ethanol added to SPR (check mark on bottle) |  |  |  | TRUE
Machine/Reagent | Group | Lot/ID |  |  | ethanol added to VHB (check mark on bottle) |  |  |  | TRUE
[5 empty] | positve and negative extraction controls added |  |  |  | TRUE
Kingfisher | FoCo | NA |  |  | pipettes changed between samples |  |  |  | TRUE
TNA Lysis Buffer | FoCo |  |  |  | beads at room temp |  |  |  | TRUE
Isopropanol | FoCo |  |  |  | beads vortexed |  |  |  | TRUE
Proteanase K | FoCo |  |  |  | beads and proteanase K thoroughly mixed prior to dispensing |  |  |  | TRUE
linear acrylamide | FoCo |  |  |  | maintenance plate run done prior to sample run |  |  |  | TRUE
magbind beads | FoCo |  |  |  | A1 of sample plate oriented to A1 in machine |  |  |  | TRUE
SPR | FoCo |  |  |  | Return tip plate to top of robot |  |  |  | TRUE
VHB | FoCo |  |  |  | VHB, SPR and SAMPLE Plates liquid in sink plates in gargabe |  |  |  | TRUE
dfh20 | FoCo |  |  |  | Elution plate sealed with microseal B and in freezer/fridge or immediately processed |  |  |  | TRUE
RXN INPUT |  |  |  |  | RUN NOTES
N samples | 81 | (non blank values in platemap, excluding standards and neg pcr ctrl)
Overage | 1.2 | % over recommended to ensure enough volume for pipetting
RXN CALCULATOR
Sample MM1 | 1X | Total Reaction | Added?
TNA lysis buffer | 60 | 5832 | TRUE
linear acrylamide | 1 | 97.2 | TRUE
isopropanol | 70 | 6804 | TRUE
total | 131 | 12733.2
Mini MM tube # and V | 8 | 1591.65
Sample MM2 | 1X | Total Reaction
MagBind beads | 5 | 486 | TRUE
proteinase K | 5 | 486 | TRUE
total | 10 | 972 | TRUE
Mini MM tube # and V | 8 | 121.5
use the space above to write any anomalies with the run as a whole or notes about particular samples.
Other Plates | 1x | Total (SPR doubled)
SPRx2 | 200 | 38880 | TRUE
VHB | 200 | 19440 | TRUE
h20 Elution | 50 | 4860 | TRUE

## pcr
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | CSU-24211 | CSU-24219 | CSU-24227 | CSU-24235 | CSU-24243 | CSU-24251 | BOU-00299 | RMRP-000805 | RMRP-000813 | RMRP-000821 |  | wnv_std_1e6
B | CSU-24212 | CSU-24220 | CSU-24228 | CSU-24236 | CSU-24244 | CSU-24252 | BOU-00300 | RMRP-000806 | RMRP-000814 | RMRP-000822 |  | wnv_std_1e4
C | CSU-24213 | CSU-24221 | CSU-24229 | CSU-24237 | CSU-24245 | CSU-24253 | BOU-00301 | RMRP-000807 | RMRP-000815 | RMRP-000823 |  | wnv_std_1e2
D | CSU-24214 | CSU-24222 | CSU-24230 | CSU-24238 | CSU-24246 | CSU-24254 | BOU-00302 | RMRP-000808 | RMRP-000816 | RMRP-000824 |  | slev_std_1e6
E | CSU-24215 | CSU-24223 | CSU-24231 | CSU-24239 | CSU-24247 | CSU-24255 | RMRP-000801 | RMRP-000809 | RMRP-000817 | RMRP-000825 |  | slev_std_1e4
F | CSU-24216 | CSU-24224 | CSU-24232 | CSU-24240 | CSU-24248 | CSU-24256 | RMRP-000802 | RMRP-000810 | RMRP-000818 | RMRP-000826 |  | slev_std_1e2
G | CSU-24217 | CSU-24225 | CSU-24233 | CSU-24241 | CSU-24249 | BOU-00297 | RMRP-000803 | RMRP-000811 | RMRP-000819 | RMRP-000827 |  | neg pcr ctrl
H | CSU-24218 | CSU-24226 | CSU-24234 | CSU-24242 | CSU-24250 | BOU-00298 | RMRP-000804 | RMRP-000812 | RMRP-000820 |  | neg extract ctl | pos extract ctl
YOUR NAME |  | Kara
|  |  |  | full protocol here -----------------------> |  | SS - Multiplex qRT-PCR
SUPPLIES |  |  |  | PROTOCOL CHECKLIST
Machine/Reagent | Group | Lot/ID |  | changed pipettes between samples |  |  |  | TRUE
Quantstudio | FoCo | NA |  | neg pcr control added |  |  |  | TRUE
Mastermix | FoCo |  |  | standards added |  |  |  | TRUE
primer probe | FoCo | NA |  | Reagents put back in -4 C |  |  |  | TRUE
RT enzyme | FoCo |  |  | baseline threshold changed to 34000 and hit Analyze |  |  |  | TRUE
standards | FoCo | NA |  | Export .xls file with named "SS-y##-w#-p#-pcr" |  |  |  | TRUE
RXN INPUT |  |  |  | RUN NOTES
N samples | 88 | non blank values in platemap
Overage | 1.2 | % over recommended to ensure enough volume for pipetting
RXN CALCULATOR
MM1 Reagent | 1X | Total Reaction
Mastermix | 10 | 1056 | 736 | x3
Primer probe | 4 | 422.4 | 883.2
RT | 1 | 105.6 | 110.4 | x2
total | 15 | 1584
Mini MM tube # and V | 8 | 198
use the space above to write any anomalies with the run as a whole or notes about particular samples.